## Slide 1: PELVIS AND HIP
Benoit Hainaux, Eric Lévêque
Nathalie Chemla
Paris V Clinic France

## Slide 2: COIL
Phased array, abdominal type
If unilateral examination, large flex coil type
Notes: This coil works with the table included coil as posterior element
Maintained with velcro strips
Large flex coil will offer you a better SNR but keep in mind that our patient mustn't be too large, or you will have not enough signal deeply

## Slide 3: PATIENT POSITION
Lying on the back
Feet turned inside (45°) maintained with adhesive tape
Legs raised
Notes: to put femoral neck in coronal plane
Legs raised with pads in order to horizontalize diaphysis

## Slide 4: SLICES POSITION
Coronal plane
Axial plane
Sagittal plane
Notes: Coronal plane : parallel to femoral neck and cover the femoral head
Axial plane : from acetabular roof to greater trochanter
Sagittal plane : from acetabular medial wall to middle femoral neck

## Slide 5: CRITERIA OF SUCCESS
gm
Notes: Femoral head, neck and diaphysis in the same coronal plane, and measure the angle between neck and disphlysis
From acetabular roof to gluteus medius insertion in axial plane
Profil view of femoral head and good analysis of anterior and posterior labrum

## Slide 6: PHASE WRAP-AROUND ARTIFACT
Occurs when object dimension exceed the FOV
Phase encoding direction
Notes: It is easily recognized as a folding over of anatomic parts into the region of interest

## Slide 7: PHASE WRAP-AROUND ARTIFACT
Manifestation of aliasing phenomenon
FOV
Phase encoding
O°
360°
-90°
450°
Notes: Aliasing is erroneous assignment of signal frequencies. On phase-encode direction, spins are encoded by their phase shift, from 0° to 360°. Beyond the FOV, spins posses phase shift less than 0° or greater than 360°

## Slide 8: PHASE WRAP-AROUND ARTIFACT
Manifestation of aliasing phenomenon
FOV
Phase encoding
361°
450°
361-360 = 1°
450-360 = 90°
1°
90°
Notes: Then, a spin who posses a 361° phase shift will be assigned to the spatial position of 1°, a spin who posses a 450° phase shift will be assigned to the spatial position of 90°

## Slide 9: PHASE WRAP-AROUND ARTIFACT
Manifestation of aliasing phenomenon
L
R
Notes: Left side of the patient is wrapped around the right side, and a same process wrap the right side around the left side

## Slide 10: PHASE WRAP-AROUND ARTEFACT
Solutions
  Increase the FOV
Phase encoding
Phase encoding
Notes: The simplest solution is to increase the FOV to encompass the entire object dimension in phase-encode direction, but you will loose spatial resolution

## Slide 11: PHASE WRAP-AROUND ARTIFACT
Solutions
  Use phase oversampling
Phase encoding
O°
360°
OVERSAMPLING
OVERSAMPLING
Notes: Phase oversampling increase the sample in the phase-encode direction, and only reconstruct the FOV.
Acquisition time increase proportionally to the sample rate (max is 100% of FOV), but you don’t loose spatial resolution.

## Slide 12: PHASE WRAP-AROUND ARTIFACT
Solutions
  Swap phase-frequency encode direction
Phase encoding
Phase encoding
Notes: Swap phase-frequency encode direction so that the FOV dimension in the phase axis encompass the entire object
Be careful of flow motion artifact, which spread in the phase-encode direction (for example, femoral artery on the hamstring muscle)

## Slide 13: WHAT DO YOU SEARCH?
Coxofemoral arthropathy ?
Tumoral lésion?
Periarticular pathology?
Tendinitis?
Sacroilliitis?
Always begin with bilateral anatomic coronal study (FSE T1)
Notes: Now that you have the good technic to do it, the way you will perform the exam depends on what you surch exactly

## Slide 14
FSE T1
ANATOMIC SEQUENCE
FRFSE T2
BILATERAL COMPARATIVE STUDY OF THE PELVIS
Notes: INHOMOGENEITY OF the edgeTHE FIELD INT2 sequence because it is fr fse and not stir
But in this case iti is ok to do frfse because patient not fat and image of frfs has beetre qualituy than stir
In fat patient or people with big muscle it woul have been better to use stir sequence to avoid inhomogeneite of field

## Slide 15: BEGINING: BILATERAL ESPECIALLY IF YOU SUSPECT ASEPTIC OSTEONECROSIS OF FEMORAL HEAD
This patient had unilateral pain and as often bilateral lésions

## Slide 16
SAG FSE T1
AXIAL BILATERAL FSET2

## Slide 17
MOTION ARTIFACT
WE SHOULD HAVE USED STIR AND PROPELLER
Notes: Do not forgrt to use propeller to avoid motion artifact annd flow

## Slide 18: UNILATERAL STUDY OF THR HIP
IF you look for localized disease
Most often when you whant to study
  Catilaginous defect (MR arthrography)
  Labrum pathology ( MR arthrography)
  Patient with controlateral total hip remplacement
  MR arthrography ++++ ( better than MRI without intrarticular Gadolinium)
Notes: If you look for more localized specifique deases

## Slide 19
MR ARTHROGRAPHY OF THE HIP
Notes: T1 with or without fat sat
fiesta

## Slide 20
FSE T1
STIR
T1 SE , GOOD FOR ANATOMIC STUDY OF HAMSTRING MUSCLE

STIR
GOOD DIFFERENTIATION
BETWEEN NORMAL AND PATHOLOGIC
TENDONS AND MUSCLES

HAMSTRING MUSCLES
Notes: You can apply this technic to hamstring muscle
The insertion of the hamstring muscle in the ischion tuberosity is well seen
Use the same method as hip

## Slide 21
FSE T1
STIR PROPELLER
NO MORE FLOW ARTIFACT
WITH PROPELLER
Notes: You will prefer promote stir and propeller

## Slide 22
THIGH MUSCLE STRAIN
STIR
FAT SAT
Notes: Verifier les sequences

## Slide 23
FSE T1
STRESS FRACTURE OF THE FEMORAL NECK
IDEAL AFTER GADO
FSE T2
Notes: Parler de l inhomogeneite de sigal en fat sat versus ideal
Fluid effusion
The enhancment after intra vienous gado linium
Cancellous bone

## Slide 24: TAKE HOME MESSAGE
Bilateral study++++
Unilateral +/- MR arthrography
T1
T2
STIR when fat people and when fat sat inhomogeneous
Propeller
Notes: Promote stir